Sioux Lookout Zone Nursing Office, Health Canada - First Nations Inuit Health

Glucometer Quality Control Testing Log

Month/Year _________________		Station Name _________________________

Control Range: 	Glucometer # , name or location ___________________

High/Low values on each test strip bottle

| Test Date | Result Hi |  | Result Low |  | Initials | Test Date | Result Hi |  | Result Low |  | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Pass | Fail | Pass | Fail |  |  | Pass | Fail | Pass | Fail |  |
| 1 |  |  |  |  |  | 17 |  |  |  |  |  |
| 2 |  |  |  |  |  | 18 |  |  |  |  |  |
| 3 |  |  |  |  |  | 19 |  |  |  |  |  |
| 4 |  |  |  |  |  | 20 |  |  |  |  |  |
| 5 |  |  |  |  |  | 21 |  |  |  |  |  |
| 6 |  |  |  |  |  | 22 |  |  |  |  |  |
| 7 |  |  |  |  |  | 23 |  |  |  |  |  |
| 8 |  |  |  |  |  | 24 |  |  |  |  |  |
| 9 |  |  |  |  |  | 25 |  |  |  |  |  |
| 10 |  |  |  |  |  | 26 |  |  |  |  |  |
| 11 |  |  |  |  |  | 27 |  |  |  |  |  |
| 12 |  |  |  |  |  | 28 |  |  |  |  |  |
| 13 |  |  |  |  |  | 29 |  |  |  |  |  |
| 14 |  |  |  |  |  | 30 |  |  |  |  |  |
| 15 |  |  |  |  |  | 31 |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |

Monthly Verification/Correlation with lab:  Date drawn ___________ 	Lab Result_________  	  Meter:  Pass / Fail

(Lab result should be within +/- 20% of Glucometer result)

Keep Original in station x 2 years -  Send copy to NPC monthly                                            October 2014