Sioux Lookout Zone Nursing Office, Health Canada - First Nations Inuit Health

HemoCue Quality Control Log

Month/year ______________________		Station ___________________________

Meter # or location ____________________

Controls:	Cuvette Value _______    	OR  	Solutions:  high________  low_________

Results should not deviate from assigned control value more than =/- 0.3g/dL; 0.2 mmol.L

P = Pass	F = Fail

| Test Date | Result | P | F | Initials | Test Date | Result | P | F | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  | 17 |  |  |  |  |
| 2 |  |  |  |  | 18 |  |  |  |  |
| 3 |  |  |  |  | 19 |  |  |  |  |
| 4 |  |  |  |  | 20 |  |  |  |  |
| 5 |  |  |  |  | 21 |  |  |  |  |
| 6 |  |  |  |  | 22 |  |  |  |  |
| 7 |  |  |  |  | 23 |  |  |  |  |
| 8 |  |  |  |  | 24 |  |  |  |  |
| 9 |  |  |  |  | 25 |  |  |  |  |
| 10 |  |  |  |  | 26 |  |  |  |  |
| 11 |  |  |  |  | 27 |  |  |  |  |
| 12 |  |  |  |  | 28 |  |  |  |  |
| 13 |  |  |  |  | 29 |  |  |  |  |
| 14 |  |  |  |  | 30 |  |  |  |  |
| 15 |  |  |  |  | 31 |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |

Verification with lab:  Date drawn ___________Lab Result_________  Meter Pass / Fail

(lab result should be within +/- 10% of HemoCue result)

Maintenance on machine & control cuvette (monthly):  Date: ___________

Keep Original in station x 2 years  	O:  ?

HemoCue  Operating Manual in Laboratory Manual	R: Dec/08